## Slide 1
Image Normalization Strategies — SubCellAE Patch Prep
Pre-step (optional, all modes) — Rolling Ball Background Subtraction img = img − rolling_ball(img, radius=10) · Removes slow background variation before normalization · Percentile stats re-computed on RB-corrected pixels · No zero-clipping applied
 | Dataset Percentile | Image Percentile | Cell Inside/Outside | Cell Min-Max
mode | "dataset" | "image" | "cell_insideoutside" | "cell_minmax"
Step 1 | p_lo, p_hi = percentile( all pixels in set, 0.2/99.8) | p_lo, p_hi = percentile( this image, 1/99) | int1 = img − median(outside) | int1 = img − mean(outside)
Step 2 | out = clip( (img−p_lo)/(p_hi−p_lo), 0,1) | out = clip( (img−p_lo)/(p_hi−p_lo), 0,1) | int2 = int1 / mean(int1[inside]) | scale = percentile( int1[inside], 99)
Step 3 | — | — | out = int2 / scale (default 5) | out = clip(int1/scale, 0, 1)
Stats scope | Whole dataset | Per image | Per image + mask | Per image + mask
BG reference | Global percentile | Per-image percentile | Median of outside pixels | Mean of outside pixels
Output range | [0, 1] | [0, 1] | ~[0, 1] (fixed scale) | [0, 1]
Mask needed | No | No | Yes | Yes
Notes | Cross-image comparable. Requires full dataset pass. Recommended baseline. | No cross-image comparability. No pre-computation. | Robust to BG outliers via median. Scale keeps range predictable. | Matches Alana's notebook. 99th-pct avoids single-pixel compression.